## Colville
Equipment Summary - Nokia Solution
Router
BNG
Part Number | MNEM | Description | QTY | ITEM PRICE | PRICE
VSR(s)
3HE13480BA |  | VSR-a SN8 R19 DC | 1
3HE11123AA |  | ASL VSR VPN Service 25 instances | 1
3HE11155AA |  | ASL VSR-NAT 10k Subs | 1
3HE11156AA |  | ASL VSR-NAT 1 Gbps | 10
3HE11157AA |  | ASL VSR-NAT Geo Redundancy | 1
3HE12032AA |  | DC Power Supply Cable | 2
3HE10551AA |  | QSFP28 - 100GBASE-SR4 ROHS6/6 0/70C | 2
3HE11801DA |  | NSP License Points (standard) | 257
3HE11802DA |  | NSP License Points (premium) | 257
Network Management Server
Item |  | Description | QTY | ITEM PRICE | PRICE
Hardware (Physical Server) |  | A physical server (VM) to run the OSS functions. | 1
Software (OS, 5520/5529 AMS, misc.) |  | Software required to run the Network Management Server, software includes operating system licensing, Nokia AMS and other miscellaneous server functions like DNS, speedtest, etc. | 1
Misc. Items
Miscellaneous Items
Item |  | Description | QTY | ITEM PRICE | PRICE
Misc. Items |  | Jumpers, breakers, fuses, cables, optic attenuators, optics, conduit, wiring, cable management, etc. | 2
Installation Costs
Item |  | Description | QTY | ITEM PRICE | PRICE
Installation Costs |  | Total cost for installation of all equipment at this location | 1
Total
0

## Rice
Equipment Summary - Nokia Solution
Part A - Telecommunications PON cabinets
ISAM FX OLT
Part Number | MNEM | Description | QTY | ITEM PRICE | PRICE
FX-4 Shelf Starter Kit | Kit | Redundant FX-4/FANT-H Starter Kit w/ 16-port XGS PON Card for cabinet | 2
3FE74981AA | FWLT-C | ISAM FX 16port Multi-PON Line board | 1
Additional FX Line Cards and PON Optics
3FE47581AD | MPM | XGS-PON/GPON MPM B+ (28 dBm), I-temp | 18
Additional Uplink Optics
3FE65831AA | 10GBase-ER | SFP+ Pluggable Optical Module, 10GE ER SM 1550nm, -40°C to +85°C, Duplex LC connector, 40km (11dB) | 8
Cabinets
Part Number | MNEM | Description | QTY | ITEM PRICE | PRICE
Standard FX-4 Cabinet Kit
DC#14070 |  | Preferred Cabinet - Great Lakes Data Racks and Cabinets - Single Bay 30RMU | 1 | 0 | 0
|  | Refer to Apendix B Spec Sheet for all technical requirements of cabinet |  | Included
|  | (1) 7360 FX-4 Shelf |  | Included
|  | (2) 144CT SC/APC Panels w/ 150' Pre-Term Tail |  | Included
|  | (1) 1*4 SC/APC Splitter Rack Mount Panel |  | Included
3MV00579AA |  | ALP-248, 7360 FX-4, W2E1, 576 dist, Tan kit. Eack kit includes | 1
|  | (1) ALP-248, 7360 FX-4, W2E1 | 1
|  | (1) 7360 FX-4 Shelf | 1
|  | (1) Door Mounted Heat exchanger | 1
|  | (1) Mini Power System | 1
|  | (2) 1000W power module | 2
|  | (1) AC Load center, 60A main, 30A SPD, 2x15A AC receptacles | 1
|  | (1) Battery Base incl fan, 60A brkr, 6AWG battery cables, temp probe | 1
|  | (1) 144 back to back fiber distribution panel | 1
Additional Cabinet items
3EM21145AA |  | Vertiv Battery Heater Pad | 1
3EM21496AB |  | ALP-248 Cabinet concrete anchor template kit | 1
1AF21968AAAA |  | Batteries | 1
Misc. Items
Miscellaneous Items
Item |  | Description | QTY | ITEM PRICE | PRICE
Misc. Items |  | Jumpers, fuses, cables, optic attenuators, optics, conduit, wiring, etc. | 1
Installation Costs
Item |  | Description | QTY | ITEM PRICE | PRICE
Installation Costs |  | Total cost for installation of all equipment at this location | 1
Total
0

## Orin
Equipment Summary - Nokia Solution
Part A - Telecommunications PON cabinets
ISAM FX OLT
Part Number | MNEM | Description | QTY | ITEM PRICE | PRICE
FX-4 Shelf Starter Kit | Kit | Redundant FX-4/FANT-H Starter Kit w/ 16-port XGS PON Card for cabinet | 1
Additional FX Line Cards and PON Optics
3FE47581AD | MPM | XGS-PON/GPON MPM B+ (28 dBm), I-temp | 18
Additional Uplink Optics
3FE73402AC | QSFP-ER4 | 100GBASE-ER4 4WDM QSFP28, I-temp, SMF | 4
Cabinets
Part Number | MNEM | Description | QTY | ITEM PRICE | PRICE
Standard FX-4 Cabinet Kit
DC#14070 |  | Preferred Cabinet - Great Lakes Data Racks and Cabinets - Single Bay 30RMU | 1 | 0 | 0
|  | Refer to Apendix B Spec Sheet for all technical requirements of cabinet |  | Included
|  | (1) 7360 FX-4 Shelf |  | Included
|  | (2) 144CT SC/APC Panels w/ 150' Pre-Term Tail |  | Included
|  | (1) 1*4 SC/APC Splitter Rack Mount Panel |  | Included
3MV00579AA |  | ALP-248, 7360 FX-4, W2E1, 576 dist, Tan kit. Eack kit includes | 1
|  | (1) ALP-248, 7360 FX-4, W2E1 | 1
|  | (1) 7360 FX-4 Shelf | 1
|  | (1) Door Mounted Heat exchanger | 1
|  | (1) Mini Power System | 1
|  | (2) 1000W power module | 2
|  | (1) AC Load center, 60A main, 30A SPD, 2x15A AC receptacles | 1
|  | (1) Battery Base incl fan, 60A brkr, 6AWG battery cables, temp probe | 1
|  | (1) 144 back to back fiber distribution panel | 1
Additional Cabinet items
3EM21145AA |  | Vertiv Battery Heater Pad | 1
3EM21496AB |  | ALP-248 Cabinet concrete anchor template kit | 1
1AF21968AAAA |  | Batteries | 1
Misc. Items
Miscellaneous Items
Item |  | Description | QTY | ITEM PRICE | PRICE
Misc. Items |  | Jumpers, fuses, cables, optic attenuators, optics, conduit, wiring, etc. | 1
Installation Costs
Item |  | Description | QTY | ITEM PRICE | PRICE
Installation Costs |  | Total cost for installation of all equipment at this location | 1
Total
0

## Addy
Equipment Summary - Nokia Solution
Part A - Telecommunications PON cabinets
ISAM FX OLT
Part Number | MNEM | Description | QTY | ITEM PRICE | PRICE
FX-4 Shelf Starter Kit | Kit | Redundant FX-4/FANT-H Starter Kit w/ 16-port XGS PON Card for cabinet | 1
3FE74981AA | FWLT-C | ISAM FX 16port Multi-PON Line board | 1
Additional FX Line Cards and PON Optics
3FE47581AD | MPM | XGS-PON/GPON MPM B+ (28 dBm), I-temp | 18
Additional Uplink Optics
3FE65831AA | 10GBase-ER | SFP+ Pluggable Optical Module, 10GE ER SM 1550nm, -40°C to +85°C, Duplex LC connector, 40km (11dB) | 3
Cabinets
Part Number | MNEM | Description | QTY | ITEM PRICE | PRICE
Standard FX-4 Cabinet Kit
DC#14070 |  | Preferred Cabinet - Great Lakes Data Racks and Cabinets - Single Bay 30RMU | 1 | 0 | 0
|  | Refer to Apendix B Spec Sheet for all technical requirements of cabinet |  | Included
|  | (1) 7360 FX-4 Shelf |  | Included
|  | (2) 144CT SC/APC Panels w/ 150' Pre-Term Tail |  | Included
|  | (1) 1*4 SC/APC Splitter Rack Mount Panel |  | Included
3MV00579AA |  | ALP-248, 7360 FX-4, W2E1, 576 dist, Tan kit. Eack kit includes | 1
|  | (1) ALP-248, 7360 FX-4, W2E1 | 1
|  | (1) 7360 FX-4 Shelf | 1
|  | (1) Door Mounted Heat exchanger | 1
|  | (1) Mini Power System | 1
|  | (2) 1000W power module | 2
|  | (1) AC Load center, 60A main, 30A SPD, 2x15A AC receptacles | 1
|  | (1) Battery Base incl fan, 60A brkr, 6AWG battery cables, temp probe | 1
|  | (1) 144 back to back fiber distribution panel | 1
Additional Cabinet items
3EM21145AA |  | Vertiv Battery Heater Pad | 1
3EM21496AB |  | ALP-248 Cabinet concrete anchor template kit | 1
1AF21968AAAA |  | Batteries | 1
Misc. Items
Miscellaneous Items
Item |  | Description | QTY | ITEM PRICE | PRICE
Misc. Items |  | Jumpers, fuses, cables, optic attenuators, optics, conduit, wiring, etc. | 1
Installation Costs
Item |  | Description | QTY | ITEM PRICE | PRICE
Installation Costs |  | Total cost for installation of all equipment at this location | 1
Total
0